## Budget
Wastewater WIFA Funding Estimates
Town of Camp Verde - FY18
Projects | Cost Estimate | Stage | Funded | Sub-total | Purpose
Drying Beds (dirt work $200,000) | 906810 | 0.05 |  |  |  | Primary system
Sludge Pump Vaults 1&2 | 110400 |  |  |  |  | Cost Savings
Yard Piping | 30000 |  |  | 1047210
Lagoon closure West | 100000 |  |  |  |  | Secondary Syst.
Repurpose Lagoons | 180000 |  |  |  |  | Sustaining Plant
Lagoon Liner (if req'd by ADEQ) | 75000 |  |  | 355000
Plant change over includes Header Pipe replacement, rework clarifier and wasting improvements | 600000 | 0.05 |  |  |  | Incr'd Capacity - .3 to .65
Fire Main back to WWTP | 105000 |  |  | 705000
Solar Installation | 500000 |  |  | 500000 |  | Energy & Cost Savings
Adding UV disinfection | 320000 |  |  | 320000 |  | Best Syst/Reduce Chl use
Lift Station VFD | 27000 |  |  |  |  | Sustaining Plant
Lift Station Pump | 80000
Lift Station SCADA | 30000 |  |  | 137000
Truck Pump Station includes road widening and culvert | 50000 |  |  | 50000 |  | Sell water / limit ground water use from Const.
Chlorine Canopy | 43000 |  |  | 43000
Est'd Engineering/Cost of Money (15%) | 330000 |  |  | 330000
Total Projects |  |  |  | 3487210
Est'd Principal Forgiveness |  |  |  | 1000000
Debt Requirement |  |  |  | 2487210

## Sheet1
Wastewater WIFA Funding Estimates
Town of Camp Verde - FY18
Projects | Cost Estimate | Stage | Funded | Sub-total | Purpose
Drying Beds (dirt work $200,000) | 906810 | 0.05 |  |  |  | Primary system
Sludge Pump Vaults 1&2 | 110400 |  |  |  |  | Cost Savings
Yard Piping | 30000 |  |  | 1047210
Lagoon closure West | 100000 |  |  |  |  | Secondary Syst.
Repurpose Lagoons | 180000 |  |  |  |  | Sustaining Plant
Lagoon Liner (if req'd by ADEQ) | 75000 |  |  | 355000
Plant change over includes Header Pipe replacement, rework clarifier and wasting improvements | 600000 | 0.05 |  |  |  | Incr'd Capacity - .3 to .65
Fire Main back to WWTP | 105000 |  |  | 705000
Solar Installation | 500000 |  |  | 500000 |  | Energy & Cost Savings
Adding UV disinfection | 320000 |  |  | 320000 |  | Best Syst/Reduce Chl use
U/V and Filter Building | 80000 |  |  | 80000 |  | Protect System
Lift Station VFD | 27000 |  |  |  |  | Sustaining Plant
Lift Station Pump | 80000
Lift Station SCADA | 30000 |  |  | 137000
Truck Pump Station includes road widening and culvert | 30000 |  |  | 30000 |  | Sell water / limit ground water use from Const.
Engineering/Cost of Money (15%) | 330000 |  |  | 330000
Total Projects |  |  |  | 3504210
Est'd Principal Forgiveness |  |  |  | 500000
Final WIFA Draw-down |  |  |  | 500000
Debt Requirement |  |  |  | 2504210
Refinancing
USDA RD Loan 92-07 |  |  |  | 2797757
WIFA Loan 088 |  |  |  | 2131579
WIFA Loan 071 |  |  |  | 246653
Refinancing Total |  |  |  | 5175989
Total Package |  |  |  | 8680199

## Sheet2
Projects | Cost estimate | Stage | Funded
SR 260 Crossings | 340000 | 70% | Yes
Lagoon Closure East | 90000 | 90% | Yes
Blower Enclosure | 5000 |  | Yes
Car Ports | 15000 | 85% | Yes
BFP Building | 30000 |  | yes
O'Reilly's (inspection) | 1000 | 70% | Yes
Asset Management Program | 1000 | 40% | Yes
Repair office (new windows,fix sides and roof | 20000 |  | no
Gannon Repairs | 5000 | 90% | Yes